## Title
|  | DATE: | 2023-08-28
| Airitan Management | Est. # | 6798-03
64-70 Maurice Ave
Maspeth, NY 11378
(P)718-898-3088, 718-898-3089
(F)718-732-2778
Project | Midtown West 47 Street | Estimator
Job Address : | 343 West 47th Street | Marcus Bannister
City/State: | New York, NY | PM:
Floors : | 7 | Kelvin Zou
| Proposal | Admin
Client Contact Information
Name | 343 West 47th Street
Contact info: | 343 West 47th Street 10036
New York NY
Architect : | Melamed Architect PC
Address | 157 West 27th Street, Suite 303, New York NY 10036
Contact info: | www.melamedarchitect.com | Gen Conditions | 7%
|  | Insurance | 4%
Designer: |  | Prof &O/H | 10%
Building Square Footage
Contact info: |  | 14000
| Budget Total |  | 6300787.7592
Drawing Manifest:
Drawings Schematic Design Documents dated-2-22-2023
Notes:
Reviewed By: Kelvin Zou

## SOV
Airitan Management
64-70 Maurice Ave
Maspeth, NY 11378
(P)718-898-3088, 718-898-3089
(F)718-732-2778
Date: | 2023-08-28
Job Address : | 343 West 47th Street
Cost Code | Description | Estimated Cost
02 00 00 | Demolition | 265505.4267
02 10 00 | Excavation | 58428.5741
03 00 00 | Concrete | 977164.3352
03 10 00 | Landscaping | 18000
04 00 00 | CMU Masonry | 229992
05 00 00 | Misc Steel: | 127752
06 22 00 | Millwork | 161280
07 10 00 | Waterproofing | 12690
07 30 00 | Exterior Panel System | 159046.2
07 40 00 | Roofing | 143287.1
08 11 00 | Doors & Frames, A-600 | 137767.5
08 40 00 | Window and Storefront | 405022.725
09 21 00 | Drywall Carpentry | 451710
09 30 00 | Tile and Stone | 169312.5
09 62 00 | Concrete Coating | 11273.85
09 64 00 | Wood Floor | 153959.4
09 90 00 | Painting | 71415
10 00 00 | Specialties
10 10 00 | Roof Top Furnishing | 15660
10 20 00 | Mail boxes- Florence, A-601 | 4252.5
10 14 00 | Signage | 9112.5
10 28 00 | Toilet Accessories | 13986
11 31 00 | Appliances | 87885
14 20 00 | Conveying System | 297000
21 00 00 | Fire Protection | 136697.5
22 00 00 | Plumbing | 377680
22 40 00 | Plumbing Fixtures | 38475
23 00 00 | HVAC | 378000
26 00 00 | Electrical | 230107.5
28 31 00 | Fire Alarm | 64800
| Subtotal | 5207262.6109
| General Conditions (7%) | 364508.3828
| Insurance (4%) | 208290.5044
| Overhead and Profit (10%) | 520726.2611
| Total | 6300787.7592

## Scope of Work
Airitan Management
64-70 Maurice Ave
Maspeth, NY 11378
Project | Midtown West 47 Street |  | Estimator
Job Address : | 343 W 47th Street |  | Marcus Bannister
City/State: | New York, NY |  | PM:
Floors : | 6 |  | Kelvin Zou
| Schematic Cost Estimate |  | Admin
DATE: | 2023-08-28
|  | Cost Estimate |  |  |  | Total SF | 14000
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total | Completed
02 00 00 | Demolition
| General Demoition of building interior | LS | 1 | 115959.6 | 127555.56 | 127555.56
| Demolition of existing roof containing asbestos | LS | 1 | 14316 | 17179.2 | 17179.2
| Demo to Lower existing of 1st floor by 4ft | LS | 1 | 12000 | 14400 | 14400
| Removal of tree at backyard | LS | 1 | 4500 | 5400 | 5400
| Removal of front stoop | LS | 1 | 4000 | 4800 | 4800
| Job site construction fence enclosure | LF | 168 | 65 | 78 | 13104
| Remove Chimney | LS | 1 | 9600 | 11520 | 11520
| Remove 6" slab at cellar | SF | 1200 | 12 | 14.4 | 17280
| Sunk Yard at the back approx 16'8" x 15'8" X11' | CY | 120.8889 | 250 | 300 | 36266.6667
| Chop rubber masonry foundation 8"X11'X6'11" | LS | 1 | 15000 | 18000 | 18000
Total | Sub Total | [5 empty] | 265505.4267
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
02 10 00 | Excavation
| Site mobilization | LS | 1 | 6000 | 6000 | 6000
| OSHA Temporary protection | LS | 1 | 4000 | 4000 | 4000
| Shop Drawing | LS | 1 | 5000 | 8500 | 8500
| Equipment Rental | LS | 1 | 6500 | 6500 | 6500
| Excavation , Transportation and Disposal of soil, (1,193 sf 5'-6" dept) | CY | 291.6222 | 80 | 80 | 23329.7778
| Minimum 6" layer 3/4" clean stones (3,184X0.5/27 | CY | 22.0926 | 95 | 95 | 2098.7963
| Rock cutting at found wall elevation to build elevator shear wall | LS | 1 | 8000 | 8000 | 8000
Total | Sub Total | [5 empty] | 58428.5741
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
03 00 00 | Concrete
| Design Mix TR-3 | LS | 1 | 2400 | 2400 | 2400
| Shop Drawing | LS | 1 | 15000 | 15000 | 15000
| 8"' 5000psi Concrete slab on grade | CY | 32.5645 | 650 | 650 | 21166.913
| Pump Truck | EA | 2 | 2000 | 2400 | 4800
| Waterproofing and Vapor Barrier: |  |  |  |  | 0
| Vapor Barrier by Stego Industries, LLC. Vapor Barrier & Waterproofing | SF | 1193 | 20 | 24 | 28632
| Shear Wall" |  |  |  |  | 0
| SW1 | CY | 2.5926 | 950 | 1140 | 2955.5556
| SW2 | CY | 2.5926 | 950 | 1140 | 2955.5556
| SW3 | CY | 3.3333 | 950 | 1140 | 3800
| SW4 | CY | 2.5926 | 950 | 1140 | 2955.5556
| SW5 | CY | 5.9259 | 950 | 1140 | 6755.5556
| Columns | EA | 6 | 3500 | 4200 | 25200
| Elevator Pit wall | LS | 1 | 15000 | 18000 | 18000
| 12" Raitaining wall at rear yard | CY | 31.7333 | 1050 | 1260 | 39984
| Concrete Deck: |  |  |  |  | 0
| 8" thick Concrete Slab: |  |  |  |  | 0
| 2nd Floor thru 7th floor and roof 8" Thick Concrete Slab | CY | 382.1481 | 1050 | 1260 | 481506.6667
| 1st Floor 8" Thick Concrete Slab | CY | 47.4074 | 1050 | 1260 | 59733.3333
| Columns | EA | 48 | 3500 | 4200 | 201600
0
| Sidewalk: |  |  |  |  | 0
| New curb at Park Ave | LF | 30 | 75 | 90 | 2700
| Sidewalk | SF | 435.6 | 35 | 42 | 18295.2
| Concrete Paved rear yard area | SF | 167 | 25 | 30 | 5010
| New asphalt road strip (3") | SF | 120 | 24 | 28.8 | 3456
| 8" Concrete Footing at Curb | CY | 4.5 | 1000 | 1200 | 5400
| Exterior Terrace Pavers-Back Yard | SF | 127 | 45 | 54 | 6858
Site Work:
| New Trees, Silver Linden or approved | EA | 1 | 4000 | 4800 | 4800
| 5'X10 Tree Pit | EA | 1 | 4000 | 4800 | 4800
| Planters-Small | EA | 1 | 1500 | 1800 | 1800
| Planters-Large | EA | 1 | 2500 | 3000 | 3000
| Planter-Bed | EA | 1 | 3000 | 3600 | 3600
Total | Sub Total | [5 empty] | 977164.3352
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
03 10 00 | Landscaping
| Planting at the back yard. | LS | 1 | 15000 | 18000 | 18000
Total | Sub Total | [5 empty] | 18000
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
04 00 00 | CMU Masonry
| CMU | SF | 5080 | 25 | 30 | 152400
West Elevation Finishes
| Stucco at West Elevation (Option A) | SF | 3233 | 20 | 24 | 77592
0
Total | Sub Total | [5 empty] | 229992
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
05 00 00 | Misc Steel:
| Guardrail at stairs A-Cellar thru roof | LF | 256 | 95 | 114 | 29184
| Guardrail at stairs B-Cellar thru 1st floor | LF | 32 | 95 | 114 | 3648
| Steel Pan Stair A-Cellar thru roof | LF | 256 | 200 | 240 | 61440
| Steel Pan Stair B-Cellar thru 1st floor | LF | 32 | 200 | 240 | 7680
| Steel Spiral Stair-Cellar thru 1st floor | LS | 1 | 6000 | 7200 | 7200
| Steel Spiral Stair-7th thru roof | LS | 1 | 6000 | 7200 | 7200
| Exterior Stairs | LS | 1 | 5000 | 6000 | 6000
| Metal Ladder at roof | LS | 1 | 4500 | 5400 | 5400
| Sub Total | [5 empty] | 127752
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
06 22 00 | Millwork
| Apt. Kitchen Cabinet, (15'lf) | EA | 7 | 18000 | 21600 | 151200
| Bathroom Vanity | EA | 7 | 1200 | 1440 | 10080
Total | Sub Total | [5 empty] | 161280
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
07 10 00 | Waterproofing
| Bathrooms | EA | 14 | 500 | 675 | 9450
| Kitchens | EA | 6 | 400 | 540 | 3240
Total | Sub Total | [5 empty] | 12690
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
07 30 00 | Exterior Panel System
Glass Fiber Panel and Metal Panel:
| Textured Fiber cement panel West Elevation (Option A) | SF | 764 | 80 | 108 | 82512
| Exterior Metal Panels West Elevation (Option A) | SF | 85 | 75 | 101.25 | 8606.25
Front Elevation Finishes
| Textured Fiber cement panel Front Elevation (Option A) | SF | 86 | 80 | 108 | 9288
| Exterior Metal Panels Front Elevation (Option A) | SF | 467 | 75 | 101.25 | 47283.75
| Regid Insulation and Waterproofing behind panels | SF | 1402 | 6 | 8.1 | 11356.2
| Sub Total | [5 empty] | 159046.2
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
07 40 00 | Roofing
| SBS Siplast Roofing System Over | SF | 1193 | 15 | 25 | 29825
| R-20 Tapered Rigid Insulation 6" min. | SF | 1193 | 7 | 9.45 | 11273.85
| Sprayed on Vapor Babier | SF | 1193 | 5 | 6.75 | 8052.75
| Flashing & Counter flashing | LF | 170 | 30 | 40.5 | 6885
| Aluminum Formed Coping at Parapet | LF | 170 | 25 | 33.75 | 5737.5
| Pressure Treated Wood Blocking 2"x8" | LF | 170 | 4 | 5.4 | 918
| Sprayed Vapor barrier | SF | 170 | 2 | 2.7 | 459
| Cant Strip | LF | 210 | 4 | 5.4 | 1134
Pavers
| Concrete Pavers on Pedestals at roof | SF | 1193 | 35 | 47.25 | 56369.25
| Concrete Pavers on Pedestals at 1st floor terrace | SF | 199 | 35 | 47.25 | 9402.75
| Concrete Pavers on Pedestals at balcony 3rd thru 7th fl | SF | 280 | 35 | 47.25 | 13230
| Sub Total | [5 empty] | 143287.1
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
08 11 00 | Doors & Frames, A-600
| Furnish of Hardware | EA | 86 | 350 | 472.5 | 40635
Installation of Doors:
| Mech Room Door | EA | 5 | 950 | 1282.5 | 6412.5
| Powder Room Door | EA | 1 | 900 | 1215 | 1215
| Stair Door | EA | 15 | 1050 | 1417.5 | 21262.5
| Cellar Yard Door | EA | 1 | 1050 | 1417.5 | 1417.5
| Bathroom Door | EA | 14 | 900 | 1215 | 17010
| Bedroom Door | EA | 14 | 900 | 1215 | 17010
| 1st Floor Yard Door | EA | 1 | 900 | 1215 | 1215
| Apartment Entry Door | EA | 1 | 900 | 1215 | 1215
| Balcony Door | EA | 6 | 900 | 1215 | 7290
| Roof Terrace Door | EA | 1 | 900 | 1215 | 1215
| Closet Doors | EA | 27 | 600 | 810 | 21870
| Sub Total | [5 empty] | 137767.5
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
08 40 00 | Window and Storefront
Glazing
| 2'x8'-7" Punch Windows @ west elevation (Option A | EA | 7 | 1300.5 | 1755.675 | 12289.725
| Glass wall Front Elevation (Option A) | SF | 1056 | 120 | 126 | 133056
| Glass window/wall Rear Elevation (Option A) (16 ea assume (8'Wx6'H) | EA | 16 | 7200 | 8280 | 132480
Glass Handrail-Roof:
| Glass roof rail Front Elevation (Option A) | SF | 61 | 120 | 162 | 9882
| Glass roof rail @ 5 balcony (Option A) | SF | 280 | 120 | 162 | 45360
| Glass Guard Rail at Back Elevation | SF | 65 | 120 | 162 | 10530
| Shower Doors | EA | 13 | 3500 | 4725 | 61425
| Sub Total | [5 empty] | 405022.725
Cost Code | Trade/Item Description | Unit | Quantity | Cost Per | Cost Per | Sub-total | Total
09 21 00 | Drywall Carpentry
| Furring Wall | SF | 13910 | 7 | 9.45 | 131449.5
3-1/2" 25 GA Mtl stud @ 16" OC
(1) 5/8" S/R one side
3-5/8" SAB Insulation
| Interior Partitions | SF | 10350 | 12 | 16.2 | 167670
3-1/2" 25 GA Mtl stud @ 16" OC
5/8" S/R on Each side
3-5/8" SAB Insulation
Ceiling:
| Gyp Board Ceiling (Assume Gymsum ceiling throughout) | SF | 10368 | 10 | 13.5 | 139968
Blocking:
| Bathrooms | LS | 14 | 200 | 270 | 3780
| Kitchens | LS | 7 | 500 | 675 | 4725
| Laundry Room | LS | 7 | 250 | 337.5 | 2362.5
| Mailbox | LS | 1 | 500 | 675 | 675
| Utility Room | LS | 1 | 800 | 1080 | 1080
| Sub Total | [5 empty] | 451710
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
09 30 00 | Tile and Stone
| Floor Tile - Bathrooms | SF | 791 | 25 | 31.25 | 24718.75
| Wall Tile - Bathrooms | SF | 2926 | 25 | 31.25 | 91437.5
| Floor Tile - Laundry | SF | 84 | 25 | 31.25 | 2625
| Wall Tile - Kitchen Backsplach Tile | SF | 252 | 25 | 31.25 | 7875
| Stone-Counter Tops |  |  |  | 0
| Kitchens Counter Top | SF | 231 | 125 | 156.25 | 36093.75
| Bathroom Vanity Counter Top | SF | 35 | 150 | 187.5 | 6562.5
| Sub Total | [5 empty] | 169312.5
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
09 62 00 | Concrete Coating
| Polish Concrete floor at Basement | SF | 1193 | 7 | 9.45 | 11273.85
11273.85
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
09 64 00 | Wood Floor
| Hardwood - Strip Flooring | SF | 7658 | 8 | 10.8 | 82706.4
| Rubber Base Insulation | SF | 7658 | 2 | 2.7 | 20676.6
| 3/4" Plywood Subfloor | SF | 7658 | 3 | 4.05 | 31014.9
| Wood Base molding 6" | LF | 1610 | 9 | 12.15 | 19561.5
| Sub Total | [5 empty] | 153959.4
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
09 90 00 | Painting
| Apartment-Including walls, ceiling, doors and finishes | EA | 7 | 5500 | 7425 | 51975
| Stair Case Basement to roof Floor | EA | 8 | 1800 | 2430 | 19440
| Sub Total | [5 empty] | 71415
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
10 00 00 | Specialties
10 10 00 | Roof Top Furnishing
| Roof top Jacuzzi | EA | 1 | 8000 | 10800 | 10800
| Wet Bar | EA | 1 | 1200 | 1620 | 1620
| Roof Furniture | LS | 1 | 2400 | 3240 | 3240
| Sub Total | [5 empty] | 15660
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
10 00 00 | Specialties
10 20 00 | Mail boxes- Florence, A-601
| 4C06D-09 (6 Apt. Mailboxes) | EA | 7 | 450 | 607.5 | 4252.5
| Sub Total | [5 empty] | 4252.5
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
10 14 00 | Signage
| Trash room | EA | 1 | 150 | 202.5 | 202.5
| Mechanical room | EA | 1 | 150 | 202.5 | 202.5
| Elevator room | EA | 1 | 150 | 202.5 | 202.5
| Mechanical utility room | EA | 1 | 150 | 202.5 | 202.5
| Exit | EA | 8 | 150 | 202.5 | 1620
| Elevator | EA | 8 | 150 | 202.5 | 1620
| Stair A | EA | 16 | 150 | 202.5 | 3240
| Stair B | EA | 2 | 150 | 202.5 | 405
| Apartment Entry | EA | 7 | 150 | 202.5 | 1417.5
| Sub Total | [5 empty] | 9112.5
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
10 28 00 | Toilet Accessories
| Mirror Medicine Cabinet-Surface Mount | EA | 14 | 250 | 337.5 | 4725
| Grab bar | EA | 28 | 100 | 135 | 3780
| Towel bar | EA | 14 | 75 | 101.25 | 1417.5
| Toilet paper holder | EA | 14 | 95 | 128.25 | 1795.5
| Soap Dish/Tumbler Holder | EA | 14 | 120 | 162 | 2268
| Sub Total | [5 empty] | 13986
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
11 31 00 | Appliances
| Cooktop, General Electric, JGP5030DLBB, Black | EA | 7 | 1000 | 1350 | 9450
| Wall Oven, General Electric, JT3000DFBB, Black | EA | 7 | 1250 | 1687.5 | 11812.5
| Refrigerator, General Electric, GBE21DGKBB, Black | EA | 7 | 1200 | 1620 | 11340
| Counter-Depth Refrigerator, General Electric | EA | 7 | 1800 | 2430 | 17010
| Dishwasher, General Electric, CDT835SMJDS, Black | EA | 7 | 1300 | 1755 | 12285
| Microwave, General Electric, JNM7196DKBB, Black | EA | 7 | 450 | 607.5 | 4252.5
| Gas Dryer, General Electric, GFD45GSPMDG, Black | EA | 7 | 1200 | 1620 | 11340
| Washer, General Electric, GFW450SPMDG, Black | EA | 7 | 1100 | 1485 | 10395
| Sub Total | [5 empty] | 87885
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
14 20 00 | Conveying System
| 3500 LBS Elevator (7 Stops) | EA | 8 | 25000 | 33750 | 270000
| Elevator Cab | LS | 1 | 20000 | 27000 | 27000
| Sub Total | [5 empty] | 297000
Cost Code |  | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
21 00 00 | Fire Protection
| Sprinkler Heads (approx 80 heads) | EA | 120 | 300 | 405 | 48600
| Fire Pump-PEERLESS MODEL 5PVF11 500GMP 243FT.HD 105PSI 25HP | LS | 1 | 25000 | 33750 | 33750
| Jockey Pump-GRUNDFOS SERIES S (CR) 10GMP @243FT.HD 3HP | LS | 1 | 6000 | 8100 | 8100
| Fire Pump Control Panel-(FIRETOOL FTA1000) | LS | 1 | 4500 | 6075 | 6075
| Jockey Pump Control Panel-(FTA500) | LS | 1 | 3500 | 4725 | 4725
| 3"x3"x6" Flush wall mount wet siamese | EA | 1 | 1500 | 2025 | 2025
| DCDA Double check detector | EA | 1 | 6500 | 8775 | 8775
| Tampe switch | EA | 1 | 500 | 675 | 675
| (SPFCA) Sprinkler Floor Control Valve Assembly | EA | 8 | 800 | 1080 | 8640
| Check Valve | EA | 8 | 400 | 540 | 4320
| New 3-Way Manfold | EA | 1 | 1200 | 1900 | 1900
| 4" Sprinkler Standpipe Riser | LF | 90 | 75 | 101.25 | 9112.5
| 1" Sprinkler Piping | LF
| 2" Sprinkler Piping | LF
| 1-1/4" Sprinkler Piping | LF
| Sub Total | [5 empty] | 136697.5
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
22 00 00 | Plumbing
| General plumbing of apartments | LS | 1 | 140000 | 220000 | 220000
| 4" Domestic Water Service | EA | 1 | 20000 | 27000 | 27000
| 4" Sprinkler Service | EA | 1 | 20000 | 27000 | 27000
| 6" Combine Sewer Service | LS | 1 | 25000 | 33750 | 33750
Piping
| 6" Underground Piping | LS | 1 | 35000 | 47250 | 47250
| Floor heating in each bathroom | EA | 14 | 1200 | 1620 | 22680
| Sanitary Riser: |  | Included
| 4" Sanitary Riser | LF | Included
| 3" Vent Riser | LF | Included
| Domestic Riser: |  | Included
| 1-1/2" Cold Water Riser | LF | Included
| 1-3/4" Cold Water Riser | LF | Included
| 3/4" Hot Water Riser | LF | Included
| 3/4" Hot Water Recirculation Riser | LF | Included
| Gas Riser: |  | Included
| 3/4" Gas Riser | LF | Included
| Storm Riser: |  | Included
| 4" Storm Riser | LF | Included
| Horizontal Plumbing Piping: |  | Included
| 6" Sanitary pipe | LF | Included
| 3/4" hot water | LF | Included
| 3/4" hot water recirculation | LF | Included
| 3/4" Cold water | LF | Included
| 1-1/4" Gas pipe | LF | Included
| 4" Vent pipe | LF | Included
| 4" pipe Storm pipe | LF | Included
| Indirect Domestic Water Heater: | EA | Included
| HWH Instantaneous Hot Water Heater, AO Smith, ATI-540H | EA | Included
| Pumps: |  | Included
| ESP-1 FLYGT DP3045 IMPELLA 234 30 GMP, 31 FT. 2 HP Elevetor Sump Pump | EA | Included
| SEJ-1 Sewage Ejector Pump, Stancor SEW-150 50 GMP, 35FT, 1-1/2 | EA | Included
| BP-1 Domestic Booster Pump, PEERLESS CR15-5ST-60H 115 GMP, 184 FT, 10 HP | EA | Included
| Gas Presure Booster Pump | EA | Included
| Water Meters | LS | Included
| Gas Meters | LS | Included
| Sub Total | [5 empty] | 377680
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
22 40 00 | Plumbing Fixtures
Faucets:
| Laboratory Sink Faucet | EA | 12 | 300 | 405 | 4860
| Bath Tub shower set | EA | 6 | 400 | 540 | 3240
| Shower set | EA | 6 | 400 | 540 | 3240
| Kitchen Sink Faucet | EA | 6 | 250 | 337.5 | 2025
Fixtures:
| Shower Pan | EA | 6 | 500 | 675 | 4050
| Toilet | EA | 12 | 500 | 675 | 8100
| Bathroom sink | EA | 12 | 350 | 472.5 | 5670
| Bath Tub | EA | 6 | 500 | 675 | 4050
| Kitchen Sink | EA | 6 | 400 | 540 | 3240
| Sub Total | [5 empty] | 38475
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
23 00 00 | HVAC
| Ductwork: | LS | 1 | 280000 | 378000 | 378000
Air Riser: M200
| 12" | LF |  | 45 | 60.75 | 0
| 8" | LF |  | 30 | 40.5 | 0
| 6" | LF |  | 20 | 27 | 0
| 8X6 | LF |  | 35 | 47.25 | 0
| 10X8 | LF |  | 40 | 54 | 0
| 6X4 | LF |  | 30 | 40.5 | 0
| 18X16 | LF |  | 60 | 81 | 0
Horizontal Ductwork:
| 4X4 | LF |  | 20 | 27 | 0
| 4" Round Ductwork | LF |  | 30 | 40.5 | 0
| 8X10 | LF |  | 40 | 54 | 0
| 12X12 | LF |  | 45 | 60.75 | 0
| Refridgerant Piping | LS |  | 48000 | 64800 | 0
Equipment:
Gas fired make-up unit: (Allowance only)
| MUA-1, OABD 1083A3, Trane | EA |  | 18000 | 24300 | 0
| Condensing Unit |  |  |  |  | 0
| CU-1, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
| CU-2, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
| CU-3, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
| CU-4, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
| CU-5, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
| CU-6, MXZ-8C48NAHZ, Mitsubishi | EA |  | 3800 | 5130 | 0
AC Units
| (1)-MSZ-FH12NA, Wall Mounted , Mitsubishi | EA |  | 6500 | 8775 | 0
| (2)-SEZ-KD12NA, Concealed CLG., Mitsubishi | EA |  | 6500 | 8775 | 0
| (3)-MSZ-FH06NA, Wall Mounted , Mitsubishi | EA |  | 4800 | 6480 | 0
| (4)-MSZ-FH09NA, Wall Mounted , Mitsubishi | EA |  | 5400 | 7290 | 0
Fans:
| GX-1, Utility room, roof, CFM 530, Cube-101, Greenheck | EA |  | 2800 | 3780 | 0
| GX-2, Kitchen, roof, CFM 150, SWV327, Greenheck | EA |  | 1800 | 2430 | 0
| TX-1, Toilet, roof, CFM 350, SWV215, Greenheck | EA |  | 2500 | 3375 | 0
| TX-2 Toilet, roof, CFM 300, GB-101HP-VG, Greenheck | EA |  | 2400 | 3240 | 0
| DX-1 Dryers Exhaust, Roof, CFM 900, RT1500, TJERNLUND | EA |  | 3200 | 4320 | 0
HVAC Fixtures:
| CD-Ceiling Diffuser | EA | Included
| TR-Top Register | EA | Included
| RG-Return Grille | EA | Included
| Rigging | EA | Included
| Fire Dampers: fully recess blade | EA | Included
| Access Doors 14"x14" | EA | Included
| Vibration Isolator | LS | Included
| Discharge Cap | EA | Included
| Return air screen | EA | Included
| Connection:flexible | EA | Included
| Duct Hangers and Support | LS | Included
| Roof Curb | LS | Included
| Sub Total | [5 empty] | 378000
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
26 00 00 | Electrical
| Apartments Building General Wiring & Power- Cellar to 6th Floor, Roof and Exterior Lighting | LS | 1 | 126000 | 170100 | 170100
| Lighting fixtures for apartments | LS | 1 | 24500 | 33075 | 33075
Include the following:
| Property Line Box | Included
| Incoming Electrical Service | Included
| Empty Conduit With Pull string | Included
| MDP Panel | Included
| Risers to Panels | Included
| Risers to Roof | Included
| Distribution Panels | Included
| Apartment Panels | Included
| Power Supply to Boilers | Included
| Power Supply to Elevator | Included
| Power Supply to Mechanical Units | Included
| Power Supply to Pump | Included
| General Power Supply to Lighting Distribution | Included
| General Power to Outlet & Switches | Included
| Outlets & Switches | Included
| Circuit Breaker | Included
| Junction Boxes | Included
| Lighting Fixtures installation | Included
Low Voltage Work
| Telephone and Data | LS | 1 | 5950 | 8032.5 | 8032.5
| Airphone and Video Intercom System | LS | 1 | 7350 | 9922.5 | 9922.5
| Card Entry System | LS | 1 | 6650 | 8977.5 | 8977.5
| Sub Total | [5 empty] | 230107.5
Cost Code | Trade/Item Description | Quantity | Unit | Cost Per | Cost Per | Sub-total | Total
28 31 00 | Fire Alarm
| Apartment - Fire Alarm System | LS | 1 | 48000 | 64800 | 64800
| FACP-Fire Alarm Control Panel | LS | Included
| Photo Electroc Smoke Detector | LS | Included
| Syste Carbon Monoxide Detector | LS | Included
| Control Relay | LS | Included
| Monitoring Module | LS | Included
| Tamper Switch | LS | Included
| Water Flow Switch | LS | Included
| Manual Pull Station | LS | Included
| Fire Alarm Lockable Disconnect Switch | LS | Included
| Sub Total | [5 empty] | 64800
| Subtotal | [5 empty] | 5207262.6109
| General Conditions (7%) | [5 empty] | 364508.3828
| Insurance (4%) | [5 empty] | 208290.5044
| Overhead and Profit (10%) | [5 empty] | 520726.2611
| Total | [5 empty] | 6300787.7592
Note on C459: Item Name: LF-02- Internal Recess downlights - Elevator lobby corridor Property: Point Count